ORDINANCE NO. ______

AN ORDINANCE OF THE CITY/COUNTY OF _________, WASHINGTON, ADOPTING UPDATES TO THE STATE FIRE CODE AND AMENDING ___________ MUNICIPAL CODE SECTION _____________

WHEREAS, the state building code council periodically adopts international codes of statewide applicability, collectively referred to as the state fire code: and

WHEREAS, the state building code council has updated the state fire code by adopting the 2009 edition of the International Fire Code; and

WHEREAS, the City/County Council finds that the public health, safety, and welfare would be served by adopting the updated version of the state fire code; now, therefore,

THE CITY/COUNTY COUNCIL OF THE CITY/COUNTY OF ____________, WASHINGTON, DO ORDAIN AS FOLLOWS:

SECTION 1.  ___________ Municipal Code Section 15.12.010 is AMENDED to read as follows:

    - International Fire Code, 2009 Edition, adopted.

Pursuant to RCW 19.27.031 and RCW 35.21.180  the International Fire Code and the International Residential Code Appendix R,S, 2009 Edition, is adopted by the council of the city/county for the purpose of prescribing regulations governing conditions hazardous to life and property from fire or explosion, including amendments and additions thereto by the State and this Chapter, as published by the International Code Council and copyrighted by the International Code Council Inc. 5203 Leesburg Pike, Suite 708, Falls Church, Virginia 22041-3401, is adopted as the City/County Fire Code. One copy has been and now is filed in the office of the city/county clerk, and the code is adopted and incorporated as fully as if set forth at length therein, and from the effective date of the ordinance codified in this section, and the provisions thereof shall be controlling within the limits of the city/county, except the following: (105.6) Appendix A, C, D, E, F, G.

SECTION 2.  _______ Municipal Code Section 15.12.020 is to remain unchanged.

    - Enforcement.

The codes hereby adopted or now in effect shall be enforced by the fire authority.

SECTION 3.  _________ Municipal Code Section 15.12.030 is AMENDED to read as follows:

    - Definitions.

- Whenever “municipality” is used in the International Fire Code, it means the city/county of ________.

- Whenever “jurisdiction” or ”department of fire prevention” is used in the International Fire Code, it means fire authority.

(3) Whenever “counsel” is used in the code, it means the city/county attorney.

- Whenever “police” is used in the code, it means the city/county police department.

- Whenever “fire chief” or “fire code official” or fire department” is used in the code, it means fire authority.

- Whenever “fire area” is used in the code, it means the total floor area of all floor levels within the exterior walls and under the horizontal projections of the roof of a building.

SECTION 4.  ________ Municipal Code Section 15.12.040 is AMENDED to read as follows:

    - Appeals.

Whenever the fire authority shall disapprove an application or refuse to grant a permit applied for, or when it is claimed that the provisions of the codes do not apply or that the true intent and meaning of the codes have been misconstrued or wrongly interpreted, the applicant may appeal from the decision of the fire authority within 30 days from the date of the decision appealed in accordance with the International Fire Code Section 108.

SECTION 5.  __________ Municipal Code Section 15.12.050 is AMENDED to read as follows:

    - Violations.

- Any person who shall violate any of the provisions of the codes hereby adopted or fail to comply therewith, or who shall violate or fail to comply with any order made thereunder, or who shall build in violation of any detailed statement of specifications or plans submitted thereunder, and from which no appeal has been taken, or who shall fail to comply with such an order as affirmed or modified by the city/county council or by a court of competent jurisdiction, within the time fixed herein, shall for each and every such violation and noncompliance respectively, be guilty of a misdemeanor.

- The application of this section shall not be held to prevent the enforced removal of prohibited conditions.

SECTION 6.  _________ Municipal Code Section 15.12.60 is AMENDED to read as follows:

    - Establishment and duties of bureau of fire prevention.

- The International Fire Code shall be enforced by the fire authority of the city/county which is hereby established and shall be operated under the supervision of the fire authority.

- The fire code official in charge of the fire prevention department shall be appointed by the fire chief on the basis of examination to determine their qualifications.

- The fire authority may detail such members of the fire department as inspectors as shall from time to time be necessary.

SECTION 7.  __________ Municipal Code Section 15.12.70 is AMENDED to read as follows:

    - Penalties.

Persons who shall violate a provision of this code or shall fail to comply with any of the requirements thereof or who shall erect, install, alter, repair or do work in violation of the approved construction documents or directive of the fire code official, or of a permit or certificate used under provisions of this code, shall be guilty of a [misdemeanor], punishable by a fine of not more than _____ dollars or by imprisonment not exceeding _____, or both such fine and imprisonment. Each day that a violation continues after due notice has been served shall be deemed a separate offense.

SECTION 8.  _________ Municipal Code Section 15.12.100 is AMENDED to read as follows:

    - State Fire Code Adoption and Amendment of the 2006 edition of the International Fire Code.

Chapter 45 of the IFC is amended as follows:

# CHAPTER 45

13 — 10  Installation of Sprinkler Systems

13D — 10  Installation of Sprinkler Systems in One- and Two-Family Dwellings and Manufactured Homes

13R — 10  Installation of Sprinkler Systems in Residential Occupancies up to and Including Four Stories in Height

25 — 08   Inspection, Testing and Maintenance of Water-Based Fire Protection Systems

72 — 10   National Fire Alarm Code

IRC Appendix S is adopted or amended as follows:

Below are examples of how the Appendix can be adopted or amended:

AS107.1 Fire sprinklers. An approved automatic fire sprinkler system shall be installed in new one-family and two-family dwellings and townhouses in accordance with Appendix R.

AS107.1 Fire sprinklers. An approved automatic fire sprinkler system shall be installed in new one-family and two-family dwellings and townhouses in accordance with Appendix R.

AS107.1 Fire sprinklers. An approved automatic fire sprinkler system shall be installed in new one-family and two-family dwellings and townhouses in accordance with Appendix R.

AS107.1 Fire sprinklers. An approved automatic fire sprinkler system shall be installed in new one-family and two-family dwellings and townhouses exceeding ????? square feet in accordance with Appendix R.

AS107.1 Fire sprinklers. An approved automatic fire sprinkler system shall be installed in new one-family and two-family dwellings and townhouses exceeding ????? square feet in accordance with Appendix R.

AS107.1 Fire sprinklers. An approved automatic fire sprinkler system shall be installed in new one-family and two-family dwellings exceeding ????? square feet and townhouses exceeding ????? square feet in accordance with Appendix R.

AS107.1 Fire sprinklers. An approved automatic fire sprinkler system shall be installed in new one-family and two-family dwellings exceeding ????? square feet and townhouses in accordance with Appendix R.

SECTION 9.  This ordinance shall be in full force and effect five (5) days after posting and publication as required by law.  A summary of this Ordinance may be published in lieu of the entire ordinance, as authorized by State Law.

PASSED by the City/County Council of the City/County of __________, APPROVED by the Mayor/Chiar and attested by the Clerk in authentication of such passage this __th day of June 2010.